## Sheet1
| Instrument | TEST
ToM CHESS Revision
INSTRUMENT SYSTEM |  |  |  | CABINET |  |  |  |  | Axes |  |  | Extra PILS devices
Old ToM# | ToM Axis Description | Sub-System (FBS Description) | ESS name (EPICS PV) YMIR- | MC Unit | TC NC Axis ID | TC Pneumatic Axis ID | ESS name (EPICS PV) YMIR- | Cabinet Type | Actuator type | Temperature sensor | Temperature unit | Extra PILS devices | variable name | extra PILS device type | Extra PILS device descitpion
0 | Attention: This is an Example line!! | Collimation System | ColChg:MC-LinY-01 | 1 | 1 | 1 | MCS1:: | MCU 5001a (1.6 kW) | e-electrical p-pneumatic | x-if yes | c-Celsius k-Kelvin | x-if yes | stTempVacuum | 1302 | temp#1Vacuum
1 | Beam Scan Y | Beam Scan Y | BmScn:MC-LinY-01 | 1 | 1 |  |  |  | e | x | c | x | stMotorM1OpenClutch | 1602 | M1OpenClutch
10 | PT100 3-wire sensor | PT100 3-wire sensor | Temp:MC-Temp-01 | [6 empty] | x | c | x | stTemp#1Vacuum | 1302 | Temp#1Vacuum
11
0
0
6
7
8
9
0
0
2
3
4
5
20
12
13
14
16
17
15
19
21
0
0
0